**21-Z1/AIDED TRIP**

**(R)-PH P/U**

**(Y)-PH P/U**

**(B)-PH P/U**

**Z2/Z3/Z4/Z5 SOTF TRIP**

**AIDED DEF**

**COS (21/67N)**

**CS (21/67N)**

**CR (21/67N)**

**I/T REC**

**PSB DETECT**

**BACK UP(O/C & E/F)TRIP**

**VT FAIL**

**PROTN OUT**

**21-Z1/AIDED TRIP**

**(R)-PH P/U**

**(Y)-PH P/U**

**(B)-PH P/U**

**Z2/Z3/Z4/Z5 SOTF TRIP**

**AIDED DEF**

**COS (21/67N)**

**CS (21/67N)**

**CR (21/67N)**

**I/T REC**

**PSB DETECT**

**BACK UP(O/C & E/F)TRIP**

**VT FAIL**

**PROTN OUT**

**21-Z1/AIDED TRIP**

**BACK UP(O/C & E/F)TRIP**

**Z2/Z3/Z4/Z5 SOTF TRIP**

**(R)-PH P/U**

**(Y)-PH P/U**

**(B)-PH P/U**

**AIDED DEF**

**COS (21/67N)**

**CS (21/67N)**

**CR (21/67N)**

**I/T REC**

**PSB DETECT**

**VT FAIL**

**PROTN OUT**

**DIFF. ID>TRIP**

**DIFF. ID>>TRIP**

**DIFF. (R)-PH TRIP**

**DIFF. (Y)-PH TRIP**

**DIFF. (B)-PH TRIP**

**REF. HV TRIP**

**REF. LV TRIP**

**MECH. PROTN TRIP**

**O/C HV TRIP**

**O/C LV TRIP**

**E/F HV TRIP**

**E/F LV TRIP**

**S.B.E.F. TRIP/N.A ALARM**

**LV CBF TRIP**

**DIFF. ID>TRIP**

**DIFF. ID>>TRIP**

**DIFF. (R)-PH TRIP**

**DIFF. (Y)-PH TRIP**

**DIFF. (B)-PH TRIP**

**REF. HV TRIP**

**REF. LV TRIP**

**MECH. PROTN TRIP**

**O/C HV TRIP**

**O/C LV TRIP**

**E/F HV TRIP**

**E/F LV TRIP**

**S.B.E.F. TRIP/N.A ALARM**

**LV CBF TRIP**

**LV CBF TRIP**

**S.B.E.F. TRIP/N.A ALARM**

**E/F LV TRIP**

**E/F HV TRIP**

**O/C LV TRIP**

**O/C HV TRIP**

**MECH. PROTN TRIP**

**REF. LV TRIP**

**REF. HV TRIP**

**DIFF. (B)-PH TRIP**

**DIFF. (Y)-PH TRIP**

**DIFF. ID>TRIP**

**DIFF. ID>>TRIP**

**DIFF. (R)-PH TRIP**