|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL DATA AND INFORMATION:

|  |  |
| --- | --- |
| Bay No. | DCDB # |
| Bay Name |  |

MECHANICAL CHECKS AND VISUAL INSPECTION:

|  |  |  |
| --- | --- | --- |
| ITEM | DESCRIPTION | CHECKED |
| 1 | Inspect for any physical damage or defects. |  |
| 2 | Check Aux. Contacts. |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **MCCB Ref.** | **PHASE** | **MCB Details** | **Operating Time** |
| **Type Ref.** | **Tripping Range** | **Rated** **Current** | **Injected Current** | **Time (Sec)** |
|  | R |  |  |  |  |  |
| Y |  |  |  |  |  |
| B |  |  |  |  |  |
|  | R |  |  |  |  |  |
| Y |  |  |  |  |  |
| B |  |  |  |  |  |
|  | R |  |  |  |  |  |
| Y |  |  |  |  |  |
| B |  |  |  |  |  |

* Test Equipment's : **ODEN AT** SN:
 |