**ALARM**

**OUT OF SERVICE**

**HEALTHY**

**CB CLOSE**

**ES CLOSE**

**SF6 LOW STAGE 1**

**SF6 LOW STAGE 2**

**SPARE**

**SPARE**

**SPARE**

**EDIT MODE**

**SPARE**

**SAS**

**BCPU**

**LOCAL**

**OFF**

**ALARM**

**OUT OF SERVICE**

**HEALTHY**

**CB CLOSE**

**ES CLOSE**

**SF6 LOW STAGE 1**

**SF6 LOW STAGE 2**

**SPARE**

**SPARE**

**SPARE**

**EDIT MODE**

**SPARE**

**SAS**

**BCPU**

**LOCAL**

**OFF**

**ALARM**

**OUT OF SERVICE**

**HEALTHY**

**CB CLOSE**

**ES CLOSE**

**SF6 LOW STAGE 1**

**SF6 LOW STAGE 2**

**VT FAIL**

**SPARE**

**SPARE**

**EDIT MODE**

**SPARE**

**SAS**

**BCPU**

**LOCAL**

**OFF**

**ALARM**

**OUT OF SERVICE**

**HEALTHY**

**CB CLOSE**

**ES CLOSE**

**SF6 LOW STAGE 1**

**SF6 LOW STAGE 2**

**VT FAIL**

**SPARE**

**SPARE**

**EDIT MODE**

**SPARE**

**SAS**

**BCPU**

**LOCAL**

**OFF**

**ALARM**

**OUT OF SERVICE**

**HEALTHY**

**CB CLOSE**

**ES CLOSE**

**SF6 LOW STAGE 1**

**SF6 LOW STAGE 2**

**VT FAIL**

**SPARE**

**SPARE**

**EDIT MODE**

**SPARE**

**SAS**

**BCPU**

**LOCAL**

**OFF**