|  |
| --- |
|  |
| PROTECTION OUT |
| CT ALARM |
| CT ALARM R-PHASE |
| CT ALARM Y-PHASE |
| CT ALARM B-PHASE |
| 87B TRIP |
| TRIP R-PHASE |
| TRIP Y-PHASE |
| TRIP B-PHASE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |

|  |
| --- |
|  |
| PROTECTION OUT |
| CT ALARM |
| CT ALARM R-PHASE |
| CT ALARM Y-PHASE |
| CT ALARM B-PHASE |
| 87B TRIP |
| TRIP R-PHASE |
| TRIP Y-PHASE |
| TRIP B-PHASE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |

|  |
| --- |
|  |
| PROTECTION OUT |
| CT ALARM |
| CT ALARM R-PHASE |
| CT ALARM Y-PHASE |
| CT ALARM B-PHASE |
| 87B TRIP |
| TRIP R-PHASE |
| TRIP Y-PHASE |
| TRIP B-PHASE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |
| SPARE |