**SPARE**

 **SPARE**

 **SPARE**

 **SPARE**

**U/V STAGE-2 OPTD**

**O/V STAGE-2 OPTD**

 **VT MCB TRIP /**

 **VT FUSE FAIL**

 **U/C OPTD**

 **SPARE**

 **SPARE**

 **SPARE**

 **SPARE**

**U/V STAGE-2 OPTD**

**O/V STAGE-2 OPTD**

 **VT MCB TRIP /**

 **VT FUSE FAIL**

 **U/C OPTD**

 **SPARE**

 **SPARE**

 **SPARE**

 **SPARE**

**U/V STAGE-2 OPTD**

**O/V STAGE-2 OPTD**

 **VT MCB TRIP /**

 **VT FUSE FAIL**

 **U/C OPTD**

 **51-O/C STAGE-1 OPTD**

 **51N-E/F STAGE-1 OPTD**

 **67Q-NEG SEQ DIR O/C**

 **OPTD**

 **50-O/C STAGE-2 OPTD**

 **50N-E/F STAGE-2 OPTD**

 **CBF OPTD**

 **U/V STAGE-1 ALARM**

 **O/V STAGE-1 ALARM**

 **51-O/C STAGE-1 OPTD**

 **51N-E/F STAGE-1 OPTD**

 **67Q-NEG SEQ DIR O/C**

 **OPTD**

 **50-O/C STAGE-2 OPTD**

 **50N-E/F STAGE-2 OPTD**

 **CBF OPTD**

 **U/V STAGE-1 ALARM**

 **O/V STAGE-1 ALARM**

 **51-O/C STAGE-1 OPTD**

 **51N-E/F STAGE-1 OPTD**

 **67Q-NEG SEQ DIR O/C**

 **OPTD**

 **50-O/C STAGE-2 OPTD**

 **50N-E/F STAGE-2 OPTD**

 **CBF OPTD**

 **U/V STAGE-1 ALARM**

 **O/V STAGE-1 ALARM**

 **LED GROUP 2**

 **VT FUSE FAIL**

 **VT MCB TRIP**

 **LED GROUP 2**

 **VT FUSE FAIL**

 **VT MCB TRIP**

 **LED GROUP 2**

 **VT FUSE FAIL**

 **VT MCB TRIP**

 **LED GROUP 1**

 **U/V STAGE-1 ALARM**

 **U/V STAGE-2 ALARM**

 **O/V STAGE-1 ALARM**

 **O/V STAGE-2 ALARM**

 **O/C STAGE-1 TRIP**

 **O/C STAGE-2 TRIP**

 **E/F STAGE-1 TRIP**

 **E/F STAGE-2 TRIP**

 **-VE SEQ DIR TRIP**

 **CBF OPARATED**

 **NTRL CUR STAGE-1 ALARM**

 **NTRL CUR STAGE-2 ALARM**

 **LED GROUP 1**

 **U/V STAGE-1 ALARM**

 **U/V STAGE-2 ALARM**

 **O/V STAGE-1 ALARM**

 **O/V STAGE-2 ALARM**

 **O/C STAGE-1 TRIP**

 **O/C STAGE-2 TRIP**

 **E/F STAGE-1 TRIP**

 **E/F STAGE-2 TRIP**

 **-VE SEQ DIR TRIP**

 **CBF OPARATED**

 **NTRL CUR STAGE-1 ALARM**

 **NTRL CUR STAGE-2 ALARM**

 **LED GROUP 1**

 **U/V STAGE-1 ALARM**

 **U/V STAGE-2 ALARM**

 **O/V STAGE-1 ALARM**

 **O/V STAGE-2 ALARM**

 **O/C STAGE-1 TRIP**

 **O/C STAGE-2 TRIP**

 **E/F STAGE-1 TRIP**

 **E/F STAGE-2 TRIP**

 **-VE SEQ DIR TRIP**

 **CBF OPARATED**

 **NTRL CUR STAGE-1 ALARM**

 **NTRL CUR STAGE-2 ALARM**