|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL DATA AND INFORMATION:  |  |  | | --- | --- | | Bay No. | DCDB # | | Bay Name |  |  MECHANICAL CHECKS AND VISUAL INSPECTION:  |  |  |  | | --- | --- | --- | | ITEM | DESCRIPTION | CHECKED | | 1 | Inspect for any physical damage or defects. |  | | 2 | Check Aux. Contacts. |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **MCCB Ref.** | **PHASE** | **MCB Details** | | | **Operating Time** | | | **Type Ref.** | **Tripping Range** | **Rated**  **Current** | **Injected Current** | **Time (Sec)** | |  | R |  |  |  |  |  | | Y |  |  |  |  |  | | B |  |  |  |  |  | |  | R |  |  |  |  |  | | Y |  |  |  |  |  | | B |  |  |  |  |  | |  | R |  |  |  |  |  | | Y |  |  |  |  |  | | B |  |  |  |  |  |  * Test Equipment's : **ODEN AT** SN: |