**CZ OUT**

**RESET**

**CIRCUITRY**

**FAULT**

**PU**

**ERROR**

**ZONE-1 (1A)**

**BLOCK**

**RESET**

**ZONE-2 (2A)**

**BLOCK**

**ZONE-3 (1B)**

**BLOCK**

**ZONE-4 (2B)**

**BLOCK**

**CIRCUITRY**

**FAULT ZONE-1 (1A)**

**PU**

**ERROR**

**CIRCUITRY**

**FAULT ZONE-2 (2A)**

**CIRCUITRY**

**FAULT ZONE-3 (1B)**

**CIRCUITRY**

**FAULT ZONE-4 (2B)**

**FAULT CHECK ZONE**

**FAULT PHASE (R)**

**FAULT PHASE (Y)**

**FAULT PHASE (B)**

**FIBER ERROR**

**FAULT ZONE-1 (1A)**

**87BB(RED) & CBF(GREEN)**

**FAULT ZONE-2 (2A)**

**87BB(RED) & CBF(GREEN)**

**FAULT ZONE-3 (1B)**

**87BB(RED) & CBF(GREEN)**

**FAULT ZONE-4 (2B)**

**87BB(RED) & CBF(GREEN)**

**FAULT PHASE (R)**

**FAULT PHASE (Y)**

**FAULT PHASE (B)**

**FIBER ERROR**