|  |
| --- |
|  |
|  |
|  |
|  |
| R – PHASE TRIP |
| Y – PHASE TRIP |
| B – PHASE TRIP |
| DIFFERENTIAL TRIP |
| REF HV TRIP |
| REF LV TRIP |
| NEG. SEQ. DIFF TRIP |
| O/C & E/F HV TRIP |
| O/C & E/F LV TRIP |
| CBF TRIP |
| NEUTRAL ALARM |
| STANDBY E/F TRIP |
| UNRESTRAIN TRIP |
| 2ND HARMONICS BLOCK |
| 5TH HARMONICS BLOCK |
|  |
| **O : Open** |
| **I : Close** |
| **C : Cancel/Clear** |
| **E : Enter/Select/Execute** |
| **L/R : Local/Remote/Off** |
|  |

|  |
| --- |
|  |
|  |
|  |
|  |
| R – PHASE TRIP |
| Y – PHASE TRIP |
| B – PHASE TRIP |
| DIFFERENTIAL TRIP |
| REF HV TRIP |
| REF LV TRIP |
| NEG. SEQ. DIFF TRIP |
| O/C & E/F HV TRIP |
| O/C & E/F LV TRIP |
| CBF TRIP |
| NEUTRAL ALARM |
| STANDBY E/F TRIP |
| UNRESTRAIN TRIP |
| 2ND HARMONICS BLOCK |
| 5TH HARMONICS BLOCK |
|  |
| **O : Open** |
| **I : Close** |
| **C : Cancel/Clear** |
| **E : Enter/Select/Execute** |
| **L/R : Local/Remote/Off** |
|  |

|  |
| --- |
|  |
|  |
|  |
|  |
| R – PHASE TRIP |
| Y – PHASE TRIP |
| B – PHASE TRIP |
| DIFFERENTIAL TRIP |
| REF HV TRIP |
| REF LV TRIP |
| NEG. SEQ. DIFF TRIP |
| O/C & E/F HV TRIP |
| O/C & E/F LV TRIP |
| CBF TRIP |
| NEUTRAL ALARM |
| STANDBY E/F TRIP |
| UNRESTRAIN TRIP |
| 2ND HARMONICS BLOCK |
| 5TH HARMONICS BLOCK |
|  |
| **O : Open** |
| **I : Close** |
| **C : Cancel/Clear** |
| **E : Enter/Select/Execute** |
| **L/R : Local/Remote/Off** |
|  |